# Safe methods – SM7 Temperature checks

| Subject | Details |
| --- | --- |
| Overview of activity: | This is a practical activity where learners are asked to check the temperatures of refrigeration and chilled storage equipment, together with the temperatures of foods stored within them. |
| Learning objective: | Demonstrate your ability to check temperatures accurately. Check thermometers for accuracy. Explain the procedures you have to follow to prevent cross-contamination when probing foods. Identify the factors that affect temperature fluctuations of food within refrigeration equipment. |
| Target audience: | Can be undertaken across all levels with varying amounts of support. |
| Additional resources required: | Fridges, chilled display units, probe thermometers, food items (dummy food items e.g. a jacket potato or block of lard, may save on food wastage) antibacterial wipes (or equivalent), ice, boiling water. |
| Estimated duration of activity: | This activity can be tailored to meet the time available and the amount of support required, based on the levels of ability of the learner (30 minutes – 1.5 hours). |
| Links to other resources: |  |
| Guidance notes: | This activity could be completed as either a stand-alone activity as part of a theory/practical session or, after a briefing, integrated into a practical session, to be completed over a period of time. |

## Temperature checks

- For this task, you will be given an item of refrigeration equipment to check. It may have a digital display to show what temperature it is set at. If so, record this temperature in the box.

| Digital display reading: |  |
| --- | --- |

- To check the temperature of the fridge inside, you will need to use a thermometer. You will need to check that the thermometer is working properly by placing in iced water and then in boiling water. In iced water the temperature should read between -1°C to 1°C. In boiling water, the temperature should be between 99°C and 101°C. After checking your thermometer, record your temperature readings in the boxes.

| Thermometer in iced water: |  |
| --- | --- |

| In boiling water: |  |
| --- | --- |

- If the thermometer is accurate, you now need to take the temperatures of food in the fridge.

- Insert the probe so the tip is in the centre of the food.

- If using a dial thermometer, leave for two minutes before taking a reading.

- If using a digital thermometer, wait for the display to even out before taking a reading.

- Record the temperature of the food item in the box.

| Food item temperature 1: |  |
| --- | --- |

IMPORTANT: 
Once you have finished taking the temperature, it is essential you clean and disinfect the probe to prevent cross-contamination

- Check the effectiveness of the equipment by testing another food item in a different part of the fridge.

| Food item temperature 2: |  |
| --- | --- |

The temperatures in refrigeration equipment may change throughout the day.

Give three reasons why this might happen.

1.

2.

3.